**§1160. Connection of private sewers**

Every building in a sanitary district formed under this chapter intended for human habitation or occupancy or with facilities for discharge or disposal of wastewater or commercial or industrial waste that is accessible to a sewer or drain of such district must have a sanitary sewer or drainage system that is caused to be connected with such sewer or drain of the district by the owner or person against whom taxes on the premises are assessed, in the most direct manner possible, within 90 days after receiving request therefor from the district, or within such further time as the trustees of the district may grant, and, if feasible, with a separate connection for each such building. Existing buildings that are already served by a private sewer or drainage system are not required to connect with any sewer or drain of the district so long as the private sewer or drainage system functions in a satisfactory and sanitary manner, and does not violate any law or ordinance applicable thereto or any applicable requirement of the state plumbing code, as determined by the municipal plumbing inspector, the inspector's alternate, or, in the event that both are trustees or employees of the district, the Division of Health Engineering. A building is deemed to be accessible to a sewer or drain of the district for the purposes of this section if such building, or any private sewer or drain directly or indirectly connected thereto or carrying wastewater or commercial or industrial waste therefrom, at any point is or comes within 200 feet of a sewer or drain of the district; except that this section does not require the owner of any such building to acquire any real property or easement therein for the sole purpose of making such connection. [RR 2021, c. 2, Pt. B, §276 (COR).]

SECTION HISTORY

PL 1965, c. 310 (NEW). PL 1981, c. 466, §§6,7 (AMD). PL 1985, c. 612, §18 (AMD). RR 2021, c. 2, Pt. B, §276 (COR).

The State of Maine claims a copyright in its codified statutes. If you intend to republish this material, we require that you include the following disclaimer in your publication:

*All copyrights and other rights to statutory text are reserved by the State of Maine. The text included in this publication reflects changes made through the Second Regular Session of the 131st Maine Legislature and is current through January 1, 2025
 . The text is subject to change without notice. It is a version that has not been officially certified by the Secretary of State. Refer to the Maine Revised Statutes Annotated and supplements for certified text.*

The Office of the Revisor of Statutes also requests that you send us one copy of any statutory publication you may produce. Our goal is not to restrict publishing activity, but to keep track of who is publishing what, to identify any needless duplication and to preserve the State's copyright rights.

PLEASE NOTE: The Revisor's Office cannot perform research for or provide legal advice or interpretation of Maine law to the public. If you need legal assistance, please contact a qualified attorney.